# DIGITAL INDUSTRIAL PRODUCTS

# E- 62, SECTOR – 9. NOIDA 201301(U.P.)

### An ISO 9001:2008 Certified Company

Specifications:-

This exit sign includes built in surge protection for spikes in voltage caused by lightening and static build up on components. This universal ... Commercial / Industrial Emergency Exit Lights & Emergency LED Exit Signs Promote Fire Safety ... This universal sign can be mounted on a ceiling or wall.

1. Long-life energy-saving LED technology.

2. Includes two LED 5-watt factory installed lamp

3. 12 -volt, 7Ah sealed lead acid, rechargeable, Maintenance-free battery                                               provides 6 hour of emergency operation and Automatic timer option.

4. Automatic, low voltage disconnect (LVD)

5. Activates in event of partial power failure.

6. Available with industry-standard black housing.

7. EXIT LED available in two colors RED and GREEN.

8. INDUSTRIAL GRADE.

1. EMERGENCY LIGHT			@ = RS. 4300.00

02 Nos. LED LIGHT WITH EXIT DOUBLE SIDE DISPLAY 3 Hr. BACKUP

2. EMERGENCY LIGHT			@ = RS. 3950.00

02 Nos. LED LIGHT WITH EXIT SINGLE SIDE DISPLAY 5 Hr. BACKUP

3. EMERGENCY LIGHT			@ = RS. 3500.00

02 Nos. LIGHT WITHOUT  EXIT 7 Hr. BACKUP

4. EXIT LIGHT					@ = RS. 3450.00

EXIT DOUBLE  SIDE DISPLAY 12 Hr. BACKUP

5. EXIT LIGHT					@ = RS. 2850.00

EXIT SINGLE SIDE DISPLAY 20 Hr. BACKUP

7 AH BATTERY & CHARGER